Report on the Student Project

Handout: 04/29/2026

Deadline: 06/28/2026 via moodle

Deliverables: Report (pdf) and Python scripts (commented)

First student

Name:

Student ID number:

Second student

Name:

Student ID number:

# Abstract

- Describe the problem/your work in a broader context and derive the main research question(s) (share approx. 1/3)

- Describe how you will tackle solving the research question (approach, methods, assumptions etc.) (share approx. 1/3)

- Briefly sum up the main findings (share approx. 1/3)

- The abstract must not exceed 200 words

# Methods,data and results

General hints

- Compile all data and assumptions that are required to reproduce your calculations and results (also use tables and bullet lists)

- Describe your approach and the calculation procedure

- Give the most important equations. Please note:

  - Assume that your readers are familiar with thermodynamics. That means you do not have to describe how to calculate a heat pump process (e.g., based on Tev and Tco) and how you calculate heat flow rates and work.

  - If you use optimizations, you should state the degrees of freedom and the objective as well as the underlying constraints (you may use the standard formulation of optimizations, see lecture #3).

Recommended structure

- System Design:

  - Required heating power

  - Condenser heat transfer area limit

  - Control strategy

- Design the heat pump process

  - Condenser heat transfer area and design heating power

  - Off-design operation of the heat pump

- Performance evaluation and comparison for different refrigerants and compressor diameters

  - Consider daily energy demand, the number of start/stop cycles of the heat pump compressor, and the time needed for heating up the water in the morning

- Selection of the most suitable combination

  - Visualize the operation of the complete system (pasta, water, heat pump) over one day using appropriate plots

- Comparison to an electrical heater and final recommendation

  - Calculate the energy savings, electricity cost savings, and CO₂ emission reductions of your selected design compared to an electric heater.

# Uncertainties

- Every calculation/simulation underlies uncertainties

- You should qualitatively communicate these uncertainties and how they can change the results to your friends

- Critically rethink your approach and assumptions and describe possible uncertainties

- Identify and discuss critical uncertainties that may potentially change the final conclusions of your work.

# Literature

- Create a bibliography that includes all sources used.

# Attached files

- Briefly describe the content of the attached Python files